10/08/2020   FinalReporttoIAEAondatabaseCohen30Nov10 (3).doc

The IAEA/ RCA Fine and Coarse Particle Ambient Air Database
Prepared by David Cohen
ANSTO, Australia
30 November 2010
Introduction
This final report accompanies the current IAEA/ RCA database from the 14 country Project RAC/07/015, “Characterization and Source Identification of Particulate Air Pollution  in the Asia Region”.  It fulfils the obligation under an IAEA contract to provide a fine and coarse ambient air database with explanatory notes by 30 November 2010 to the IAEA.  
This database has been assemble from data provided by each of 14 RCA member states on fine particulate matter with aerodynamic diameter less than 2.5 µm (PM2.5) and coarse particulate matter (2.5 µm to 10 µm).  The sum of the fine and coarse fractions gives the standard PM10 fraction (particles with diameters less than 10µm).  The 14 countries providing more than 12 months of data include (in alphabetical order), Australia (AUS), Bangladesh (BAN), China (CHN), India (IND), Indonesia (INO), Korea (KOR), Malaysia (MAL), Mongolia (MON), New Zealand, (NZ) Pakistan (PAK), Philippines (PHI), Sri Lanka (SRI), Thailand (THA) and Vietnam (VIE).
Each country was provided with the same fully characterised GENT sampling unit [1] and the same reflectometer unit to measure black carbon (BC).  All 14 countries sampled at one or more sites covering the period from May 2000 to December 2009.  This provided local, regional and even global information so both short and long range transport could be studied. The GENT sampler is a stacked filter system with 47 mm diameter fine and coarse Nuclepore (polycarbonate) filters providing mass information on the two different size fractions making up the PM10 particulate matter.  Each of these filters, where possible, were analyse by the country in which they were collected.  If this was not possible then other member states with extra analytical capacity performed this task.  Analytical methods include, ion beam analysis (IBA), particle induced X-ray emission (PIXE), particle induced gamma ray emission (PIGE), particle elastic scattering (PESA), instrumental neutron activation analysis (INAA) and X-ray fluorescence (XRF).  The sites, their locations, their types, descriptions and known particulate sources together with the analytical techniques used are summarised for each country in Appendix 1.
Several countries have already published fine and coarse data, including ambient air masses, compositions and elemental concentrations.  Some have taken this further and looked at source fingerprinting, source apportionment and even identified long range transport of both natural and anthropogenic pollutants within and across countries.
It is not the purpose of this document to report on the interpretation of data within this dataset such as sources or source fingerprints.  This has been done by many individual countries and published in the many journal publications list below in the reference section [1-95].

Here we just describe what is in this IAEA/ RCA database and how it was obtained and identify the typical range of fine and coarse mass fractions and the key 20 or so elements that occur on each filter.

What Should a Good Data Base Look Like?

At previous RCA meetings it was generally agreed that the current RCA database for this Project should have the following attributes:-
· All 14 RCA member states have only quality data included in database.  Lower quality data should be clearly identified.
· The common database should span at least 5 complete years between 2002 to 2007 inclusive, for each member state.
· The database should contain at least three continuous years at the one site from each member state.
· The database should contain at least 300 fine and 300 coarse filters (2 per week for 3 years) for each member state.
· Every filter has been analysed for at least fine and coarse mass, black carbon, silicon (or aluminium) and sulfur (for soil and sulfate transboundary studies).
· Each member state has applied nuclear techniques to obtain at least 15 different elemental concentrations for each filter (so source apportionment can be performed/ compared across member states).
The IAEA/ RC Fine and Coarse Particulate Matter Database
As of the 30 November 2010 the database contained 8 worksheets with sampling data for 8,831 days for fine and coarse filters between May 2000 and December 2009.  The first three worksheets contain the concentrations, errors and minimum detectable limits (MDLs) for the fine particles, the next three worksheets contain the corresponding data for the coarse particles (2.5 µm-10 µm) and the last two are the known problems and know errors associated with each country’s dataset.  Site locations, descriptions and nuclear techniques used are summarised in Appendix 1, Table A1.

All data were obtained under the following standard operating conditions:-
· Sampling using GENT samplers (Hopke et al 1997) over a 24 hr period once or twice a week.

· Typical flow rates in the GENT stacked filter system were nominally supposed to be16 l/min.

· Fine filters measured for black carbon (BC) using the Smoke Stained Reflectometry method with an assumed mass absorption coefficient (( m2/g) given in Table A2 for each member country.  This generally ranged from 5 m2/g to 10 m2/g.  This depends critically on average BC particle size and should really only be applied to the BC fine fraction as mass absorption coefficients are strongly varying with particle sizes above 2 µm and fall off quickly with values well below 3 m2/g for the larger size fractions [8].
The EXCEL database ‘IAEAGENTDataallcountries30Nov10.xls’ is about 20 MB in size and contains 8 separate worksheets.  In each worksheet the 1st row contains the column label, the 2nd row the atomic number of the elemental species measured and the 3rd row the type of worksheet (Conc, Error or MDL).  The columns in each worksheet contain the measured data.  

Elements from fluorine (Z=9) to uranium (Z=92) have been considered with different countries analysing for a different range of elements depending on their access to given techniques.  The first 22 elements from F to BC were the most common ones analysed for across the majority of countries.  The remainder from Sc to U were not as commonly used and so were separated out.  The remaining four columns were for estimates of the soil, reconstructed mass, country symbol and number of elements analysed on that sampling day and are discussed in more detail below.
The order and labelling of these columns in all the current worksheets should not be changed under any conditions as standard scripts and macros used to generate this dataset expect to find certain data in their currently defined columns within each worksheet and will not run if they are move or changed.  This is most important, the data coordinator will not accept any new data for inclusion into the current data set if it does not strictly conform to the current format.

The worksheets and their symbols and labelling should be self evident.  Below is a short description of what is contained in each of these worksheets.

CONCFine Worksheet
This worksheet contains at least 70 columns in a standard format and should not be changed.  Columns 1-9 [A-I] contain the SiteID, the Day, the Month, the Year, the sample site name, the total exposed volume (m3) collected, an error code (0-9), the sampling date and the total gravimetrical measured fine mass divided by the total sampled volume (ng/m3).
Columns 10-70 [J-BR] contained the measured elemental data from fluorine (F) to uranium (U) followed by the estimated Soil content, the reconstructed mass (RCM) the three letter country code and the number of different elements measured by the participating country.  All concentrations are in (ng/m3).  An error code Err=0 implies no known problems with this data line and an Err=9 implies this data line has significant known problems (low flow rates, not run for required time, damaged filters etc..) and should not be included in any general analysis of the data.
The elemental data in this worksheet can be used to make estimates of a range of pseudo chemical species in the standard way [3-5].  Some of the species are defined in Equs. (1) to (10) below.  The Soil and RCM concentration columns in this worksheet are defined from other columns in the spreadsheet by the Equs. (3) and (6) below.:


Salt = 2.54[Na]
(1)


Ammonium Sulfate = 4.125[S]
(2)


Soil = 2.20[Al] + 2.49[Si] + 1.63[Ca] + 1.94[Ti] + 2.42[Fe]
(3)


Smoke = [K] – 0.6 [Fe]
(4)


Organics = 11([H] – 0.25[S])
(5)


RCM = Salt+ Ammonium Sulfate+ Soil+ Smoke+ Organics+ BC+ traces
(6)


NonseasaltSulfur = S – 0.08[Na]
(7)


Error2 = Calib2 + Expt2 + Stats2 + …….
(8)


MDL = 3 (Bkg)1/2  
(9)

S/N = Conc/ MDL
(10)

where the square brackets [..] represents the concentration (ng/m3) of that element in the spreadsheet.  Equ (2) assumes all the sulfate is fully neutralised and occurs on the filters as ammonium sulfate.  Soil, equ. (3), was estimated from the oxide form of five major elements, Al, Si, Ca, Ti and Fe.  The organic matter estimate, Equ. (5), assumes the average PM2.5 organic composition was 9%H, 20%O and 71%C [3-5].  The non sea salt sulfur, Equ. (7), assumes the [S/Na] ratio of 0.08 for sea salt aerosol.

Note Organics, Equ. (5), are generally estimated in this database from hydrogen [H] cannot generally be well measured on Nuclepore filters as they are composed of H, C and O themselves.  Hence the term Organics in the (RCM) is set to zero for all filters using the GENT samplers.  This means the average RCM will be significantly reduced as the average Organic content of fine filters can be between 10% and 40% of the total fine gravimetric mass.

Soil can be used to represent an estimate of the fine or coarse windblown soil present in ambient air.  Equ. (3) assumes that the majority of the 5 elements used to make this estimate come from airborne soils alone and there are no other major source contributions.  This may not always be true for example in the present of significant cement works Ca concentrations maybe high.  In the presence of large metals foundries Fe maybe large as well.  Under these conditions the airborne Soil estimates from Equ. (3) would be overestimated, so this estimate should be used with caution and a recognition of its limitations.  
The reconstructed mass (RCM) estimate is an attempted to determine how well a particular concentration analysis measures most key chemical species present.  Ideally if this sum is close to 100% of the gravimetric mass then we have determined most chemical species present.  That situation would be 100% mass closure.  Most datasets of this type produce mass closures above 40% as not all species are determined, however they are still ideal for source apportionment techniques like positive matrix factorisation (PMF) if the elements measured adequately span each of the known sources present.  

The total error estimates associated with this dataset have been calculated by adding individual error estimates in quadrature as shown in Equ. (8) above.  Generally there were at least three components to this error estimate, the measurement calibration errors (Calib), the experimental measurement errors (Expt) and the statistical counting errors (Stats).  As a guide these three component errors might be ±5%, ±10% and ±1% to 30% for example.  The minimum detectable limit (MDL) for any given elemental measurement was estimated from the background area (Bkg) under the peak representing that element via  Equ. (9).  The signal to noise ratio (S/N) is a parameter often used in source apportionment studies and can be calculated from Equs. (9) and (10).  It is a useful parameter to determine the significance of any single elemental concentration estimate and whether or not it should be used in a PMF analysis for example.
ErrFine Worksheet
This fine particle error worksheet should have a 1-1 correspondence with the fine particle mass worksheet CONCFine.  The main differences being in the first 4 columns which are the SiteID, the sampling date and the fine particle mass error.  The measured elemental fine errors for the elements F to U, Soil and RCM are given in (ng/m3) and are directly related to the measured fine mass concentrations given in the worksheet CONCFine.  These errors included the system calibration errors, the experimental measurement errors and the statistical counting errors (all added in quadrature, Equ. (11)).  They are ideal for use in positive matrix factorisation (PMF) codes and chemical mass balance (CMB) calculations used for source fingerprinting and apportionment studies.
Unfortunately not all countries have completed all columns and rows for error estimates.  This can be overcome to some extent by taking the mean or median values for that country for each element or column and using that for the missing data from that country within that column.
MDLFine Worksheet
The minimum detectable limit (MDL) worksheet contains the experimental minimum mass concentrations estimates for each of the measured elemental species in (ng/m3).  They represent values of the order of 3 standard deviations above the background under any peaks used to determine the corresponding elemental concentrations, see Equ. (9).  There must also be a 1-1 correspondence between this worksheet and the CONCFine and ErrFine worksheets.
As with the Error Worksheet not all countries have completed all columns and rows for MDL estimates.  This can be overcome to some extent by taking the mean or median values for that country for each element or column and using that for the missing data from that country within that column.
CONCCoarse Worksheet
This worksheet has an identical format to the CONCFine worksheet but all data are for coarse (2.5 µm-10 µm) particles.  The cell by cell correspondence of this worksheet with the CONCFine worksheet should not be changed or altered in anyway.
ErrCoarse Worksheet
This worksheet has an identical format to the ErrFine worksheet but all data are for coarse (2.5-10µm) particles.  The cell by cell correspondence of this worksheet with the CONCFine worksheet should not be changed or altered in anyway.
MDLCourse Worksheet
This worksheet has an identical format to the MDLFine worksheet but all data are for coarse (2.5-10µm) particles.  The cell by cell correspondence of this worksheet with the CONCFine worksheet should not be changed or altered in anyway.
Problems Worksheet
This worksheet contains a list of know identified problems with each country’s dataset and should be read in conjunction with the dataset and all worksheets before data is used in any external application or quoted externally.  In some cases the causes of these problems are unknown and the data should therefore be used only with great caution.  Where problems have been identified an error code Err=9 has been placed in the Error column against that sampling day.
Errors Worksheet
This worksheet contains the output of a software scan of each country’s dataset and locates problems found with individual data lines.  It lists a country, its original data input file and date and then a one line summary of the number of CONCFine, ERRFine, MDLFine, CONCCoarse, ERRCoarse,  MDLCoarse entries in the dataset for each participating country.  If there are any errors found they are then listed under each country with the “LINE=number” for which the error occurs.  Where errors have been identified an error code Err=9 has been placed in the Err column against that sampling day.
Dataset Inputs

A summary of each participating country’s dataset inputs are given in the Tables of Appendix 2 for fine and coarse filters from the GENT sampler at each of the sites.  Note some countries have run two or more sampling sites during the study period and hence have more than one line entry in the Tables of this Appendix.  This Appendix contains the start and stop dates for sampling, the number of days which have error codes Err=9, the number of days with mass, Al, Si, S and BC measurements above zero.  This is followed by the number of days with BC errors (BCErr>0), BC MDL (BCMDL>0) and number of measured elements (Elts>0) greater than zero.  Finally the last column is the minimum and maximum number of elements analysed in that country’s dataset.
Zero entries (in red) in this Table show possible problem areas for the dataset.  Ideally all entries should be close to or the same as the Mass>0 entries in column 5 of this Table for a complete dataset for each country.

The tables of Appendix 2 show that 12% of the fine data and 18% of the coarse data have errors Err=9.  That is 88% of the fine and 82% of the coarse data presented in this dataset is probably ‘good’ data.  This is a respectable error rate for this type of project involving 14 different countries sampling at least once a week for more than 5 years.  I believe there could be some issues with countries with error rates significantly below the average.
At least 97% of the fine data and 94% of the coarse data have been analysed for either Al or Si which means good airborne Soil estimates may be made for the vast majority of data using Equ. (3) above.  This is ideal for the study of long range transport of soil between and across countries within the Asian study region.
Each member state was supplied with a reflectometer system for measuring fine black carbon (BC), so it was encouraging that 93% of the fine dataset contained BC measurements.  The coarse data contained only 67% BC measurements, but this was not an issue as black carbon dominates in the fine fraction and it is not clear what is the appropriate mass attenuation coefficient to use for coarse particles anyway.
Sulfur is a main component of anthropogenic fine particle pollution, it occurs from combustion of coal, oil and motor vehicles. 78% of the fine data and 66% of the coarse data analyses measured sulfur.  The main problem countries being China and Korea for the fine fraction and China, Korea and Sri Lanka for the course fractions.  These countries relied heavily on INAA results which are not ideal for determining total sulfur levels. 
The maximum number of elements analysed for by each country on each filter (fine or coarse) ranged from 17 to 40 so the dataset generally has a large potential for source apportionment studies where typically only 10 or more elements might be needed.  Furthermore the range of elements used spans most commonly occurring sources of fine and coarse particles so this is another positive aspect of this unique database.

Fig. 1 shows a plot of the start and stop sampling dates for each site and each member country.  It clearly shows that, for at least one site in each member state, the current data set spans the 5 year period 2003-2007 inclusive for many of the 14 participating countries.  Several countries have more than one site operational during the study period.  This was not necessarily a good thing, the ideal situation was to be sampling at the one site the whole time.  We did however ask people to try and obtain data from one rural and one urban or industrial site as defined on the site summaries in Appendix 1.  If there was only one GENT sampler available then this meant that it had to be moved from site to site and hence these sampling times could not overlap.  Several countries did managed to operate more than one sampler at the same time and hence had overlapping data at more than one site as demonstrated in Fig. 1 (see AUS, CHN, INO, KOR, SRI and THA for example).  

[image: image1.emf] 

Jan-00

Jan-01

Jan-02

Jan-03

Jan-04

Jan-05

Jan-06

Jan-07

Jan-08

Jan-09

Jan-10

AUS33 AUS35

BAN880

CHN86

CHN86a

CHN86b IND91a

INO62

INO62a KOR82

KOR82a

MAL60

MON73

NZ64c

NZ64b

NZ64e

PAK92 PHI63 SRI94

SRI94a

THA66

THA66a

VIE84

IAEA/ RCA Site Sampling Times


Fig. 1.  Timeframe for each site spanned by the current dataset as of 30 November 2010. The numbers at the end of each country label on the x-axis represent the internal country sampling site numbers or if they had none their country phone code (with a letter a, b, c ...) was used to distinguish different rural and urban sites in the same country.

Fig. 2 shows the number of fine plus coarse filters analysed for mass for each site in each country.  All countries except Malaysia have 300 fine filters and 300 coarse filters or more for one site or more exposed and measured mass during the study period from May 2000 to December 2009.  
[image: image2.emf] 

2376

898

1090

724

2356

2146

392

604

940

954

1302

934

1962

920

58

26

90

7

246

188

39

7

47

248

20

18

52

32

114

46

122

7

201

334

62

6

150

222

31

104

52

108

0

500

1000

1500

2000

2500

AUS

BAN CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI SRI

THA

VIE

Total No Filters

No Filters Analysed per Country

Total No Filters

No Fine Errors

No Coarse Errors


Fig. 2.  Total number of fine plus coarse filters analysed per country between May 2000 and December 2009.  The errors represent the total number of fine (blue) and coarse (green) filters with error code Err=9 in the dataset.
There were a total of 8,831 fine and 8,831 coarse filters measured in all with 1,068 (12%) fine filter errors and 1,559 (18%) coarse filter errors  The errors represent the total number of fine (blue) and coarse (green) filters with error code Err=9 in the dataset. There are more than enough filters collected by member countries to perform positive matrix factorisation for source apportionment studies provided all of these have been analysed for 10 or more different chemical species.
Ideally each GENT sampling unit should run at around 16 l/min to produce the desired fine and coarse cutoffs.  For a 24 hour sampling period this would mean a total volume of ambient air collected of around 23m3, which is typical of the amount of air an average human being may breathe in a day.  However, many sites were sufficiently heavily loaded with ambient fine particle pollution that continuous operation of a GENT unit for 24 hours was not possible without clogging.  To overcome this various sampling regimes were used with some countries running for a total of 6, 8 or 12 hours a day instead of the full 24 hours.  This produced different total volumes collected by various countries during the sampling period.
Fig. 3 is a box and whisker plot of various sampled volumes for each country using the GENT sampler.  The hatched box represents 25% to 75% of the volume distribution, the (+) sign the average and the horizontal bar the median of the distribution.  The extended whiskers represent the 95% confidence interval and solid dots are outlier points.  

[image: image3.emf]VOL (m3)

AUSBANCHNINDINOKORMALMON

NZ

PAKPHISRITHAVIE

0

50

100


Fig. 3.  Box and whisker plot of various sampled volumes for each country using the GENT sampler.  (+) is the mean and horizontal bar the median of the volume distribution.
The plot shows that Australia, Indonesia, Korea, Pakistan, Sri Lanka and Thailand tended to generally sample around 20m3 per filter, whereas other countries used much lower sampling volumes except for New Zealand who actually went the other way and sampled for longer than 24 hours per filter for many filters, producing some average volumes in excess of 30m3.  Outlier points (full dots) below the hatched boxes are produced by low flow rates and heavily loaded days.  Outlier points above the hatched boxes are generally due to sampling periods longer the nominal 24 hours where the filters were not changed on time and doubly exposed.  It should also be noted that for Korea and the Philippines their hatched boxes were considerably smaller than for most other countries implying significantly less day to day or filter to filter variation in their volumes and hence flow rates during their sampling periods.
Fine Mass Measurements.

Fine mass in the size fraction range below 2.5 µm diameter are mainly produced by combustion processes and therefore have significant health effects.  Many countries now have fine particle goals to reflect the health consequences of PM2.5 particles in ambient air.

There are many different possibilities for displaying the data within this dataset and it is not the aim of this report to do this.  Here we just present select data to illustrate the content of the current dataset.  We can however produce a few graphs which show the potential of such a unique database.

The two box and whisker plots below (Figs. 4 and 5) show the fine and percentage reconstructed mass distributions for each country within the RCA Project.  Again the (+) sign within each box represents the mean, the horizontal bar the median and the box contains 25% to 75% of the all points with the whisker showing the 95% confidence interval and the solid dots the outlier points beyond the 95% confidence intervals for each country.
The current US EPA fine particle PM2.5 goals are 15 µg/m3 annual average with a maximum of 35 µg/m3 for 24 hours.  Different countries have different goals and standards for fine particles.  Some have none and some have very tight goals, for example Australia has 8 µg/m3 as an annual average and 25 µg/m3 as a 24 hour maximum.  Fig. 4 shows that many countries exceed these goals on many occasions which has significant health implications for large pollutions in urban areas.

[image: image4.wmf]Fine All Sites Err<9

Fine Mass (µg/m3)

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

50

100

150

200

250

300

350


Fig. 4.  Box and whisker plot of fine mass concentrations for each country for all data with error code Err<9.
[image: image5.wmf]Fine All Sites Err<9

RCM (%)

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

100

200

300


Fig. 5.  Box and whisker plot of fine percentage reconstructed mass for each country for all data with error code Err<9.

Fig. 5 shows the reconstructed mass (RCM) as a percentage of the gravimetric mass for all non zero fine mass sampling days.  Technically RCM% should be 100% or less but Fig. 5 shows that for most countries values well above this were obtained on some occasions.  This occurs because the gravimetric mass is under estimated or the RCM as defined by Equ. (6) is over estimated.  Equ. (6) makes many assumptions about the chemical form of many elemental measurements.  Some of these may not be true.  Generally RCM falls between 40% and 90% for the bulk of the fine data for most countries which is a good mass closure.  Countries using INAA for their elemental analyses (like China and Korea) will generally have a lower RCM as they do no measure Si or S well and these are major components in the calculation of RCM. 
Most countries have put an Err=9 in the error column if RCM% exceeds 150%.
Coarse Mass Measurements.

The coarse mass fraction is in the nominal size range 2.5 µm to 10 µm.  It is generally dominated by particles generated from mechanical processes such as windblown soils and sea spray.  Ideally there should be the same number of fine filters exposed as coarse filters for each site.  The data set contains 8,781 fine filters with mass greater than zero and 8,711 coarse filters with mass greater than zero.  The small difference being mainly due to weighing problems or errors with some filters.

[image: image6.wmf]Coarse All Sites Err<9

Coarse Mass (µg/m3)

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

100

200

300

400

500

600


Fig. 6.  Coarse mass for each country for all data with error code Err<9. 

Fig. 6 is a box and whisker plot for the coarse mass for each country (multiple sites combined) for which the error code Err<9.  China, India and Mongolia stand out as having distributions (hatched boxes) that often exceed coarse mass fractions of 100 µg/m3 in a 24 hour period.  Pakistan and Bangladesh also have significant coarse fractions above 50 µg/m3 in a 24 hour period.  Outlier events above 200 µg/m3 in a 24 hour period were mostly caused by significant dust storms impacting the site.
[image: image7.wmf]Coarse All Sites Err<9

RCM (%)

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

100

200

300


Fig. 7.  Box and whisker plot of coarse percentage reconstructed mass for each country for all of their data with error code Err<9.

Fig. 7 is a box and whisker plot of the percentage reconstructed mass as defined by RCM in Equ. (6) as a percentage of the total gravimetric coarse mass.  Technically the percentage RCM should be less than 100% and it generally was except for some outlier events where the RCM% exceeded even 200%.  This generally occurred because the gravimetric mass had been underestimated when the filters were heavily loaded.  Maybe even some of the mass was lost during the weighing process.  Alternatively certain major components like black carbon could be grossly over estimated producing high RCM% estimates.  For most cases we have put an Err=9 against data with excessively high or excessively low RCM% estimates.
PM10 Measurements.

The GENT unit used by all countries was a stacked filter system with two size fractions, fine and coarse.  The addition of the fine, PM2.5 fraction, to the coarse (2.5 µm-10 µm) fraction gives an estimate of the PM10 mass fraction.  Fig. 8 is a box and whisker plot of the PM10 size fraction for all countries for all data with error code Err<9.  Bangladesh, China, India and Mongolia stand out as the countries with major PM10 concentrations.

[image: image8.wmf]AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

PM10 All Sites Err<9

PM10 Mass (µg/m3)

0

300

600

900


Fig. 8.  Box and whisker plot of PM10 mass for each country for all data with error code Err<9. 

The US NAAQS PM10 annual average standard is 50 µg/m3 with a 24 hour maximum of 150 µg/m3.  Clearly, Fig. 8 shows that several countries exceeded both these goals on a regular basis during the study period.

Fig. 9 is a box and whisker plot for each country of the PM10/PM2.5 ratio for all data with error code Err<9.  Generally this ratio ranged from 2 to 4 for most countries except Mongolia and Pakistan which ranged from 3 to 6 with outlier events going well above 10.  The larger values of the PM10/PM2.5 ratio are generally produced by significant dust events impacting these sites and have been used by individual countries to identify long range transport of desert soils for example.

[image: image9.wmf]PM10/PM2.5

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

3

6

9

12

15


Fig. 9.  Box and whisker plot of PM10/PM2.5 ratio for each country for all data with error code Err<9.

Fine Soil Measurements.

Soil is a key long range transport component of both fine and coarse particles.  As mentioned above we estimate the soil component from Equ. (3) using the five key elements Al, Si, Ca, Ti and Fe in their common oxide forms.
[image: image10.wmf]Fine All Sites Err<9

Soil (µg/m3)

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

10

20

30

40

50


Fig. 10.  Box and whisker plot of fine soil for each country for all data with error code Err<9.

Fig. 10 is a box and whisker plot for fine soil for each country (multiple sites combined) for which the error code Err<9.  Clearly China, India and Mongolia are sites significantly impacted by fine soils.
[image: image11.wmf]Fine All Sites Err<9

Si (µg/m3)

Al (µg/m3)

0

2

4

6

8

10

12

0

1

2

3

4

5

6


Fig. 11.  A fine Al vs Si correlation plot for all countries and for all data with error code Err<9.

Aluminium and silicon are key indicators of soil.  This is well demonstrated by the good correlation shown in the plot of Fig. 11.  A linear fit of Al versus Si for all sites and all countries with Al and Si greater than zero and filters with Err<9 gives,

Al (Fine) = (0.396 ± 0.23) *Si (Fine) and R2 = 0.77 
(11)
The points above the line with high Al not associated with Si were probably due to Al sources other than soil, like Al smelters for example.  This is a very good correlation considering that the data contains 23 different sampling sites across 14 different countries.
Equ. (11) can be used to estimate Si from Al if, as with INAA analyses, you can not make a meaningful Si measurement.  This is a good technique for China and Korea who do not have any fine Si numbers to estimate their Si content from their Al measurements using Equ. (11).
[image: image12.wmf]Fine All Sites Err<9

Si (µg/m3)

Soil (µg/m3)

0

2

4

6

8

10

12

0

10

20

30

40

50


Fig. 12.  A fine Soil vs Si correlation plot for all countries and for all data with error code Err<9.

Since the Al vs Si plot showed such good correlations across all countries it is instructive to plot the Soil vs Si correlations for countries that have measured Si.  Such a plot is shown in Fig. 12 for all data with Err<9.  There are over 6,600 points in this plot.  Again a linear fit of Soil versus Si for all sites with Soil and Si greater than zero and filters with Err<9 gives,


Soil (Fine) = (4.35 ± 1.1) *Si (Fine) and R2 = 0.95 
(12)
The correlation coefficient R2=0.95 is excellent.  A similar plot for Soil versus Al gives,

Soil (Fine) = (10.6 ± 4.1) *Al (Fine) and R2 = 0.75 
(13)
Again with a reasonably good correlation coefficient of R2=0.75.
Again Equs. (12) and (13) can be used to estimate fine soil from either a Si or an Al concentration measurement.
Coarse Soil Measurements.

Generally one would expect the soil component in the coarse fraction to be higher than that found in the fine fraction.  A comparison of Fig. 13 with Fig. 10 shows this to be the case for each of the 14 countries particularly for countries with high soil components from dust storms like China, Mongolia and Pakistan.
[image: image13.wmf]Coarse All Sites Err<9

Soil (µg/m3)

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

50

100

150

200

250

300


Fig. 13.  Box and whisker plot of coarse soil for each country for all data with error code Err<9.

China, India and Mongolia stand out as having higher coarse soil fractions than other countries.  These countries are impacted by long range transport of soil from known desert regions [3, 12, 13, 42]

A linear fit of Al versus Si for all sites with Al and Si greater than zero and filters with Err<9  gives,


Al (Coarse) = (0.343 ± 0.11) *Si (Coarse) and R2 = 0.93 
(14)

Fig. 14 is a plot of the coarse Al versus the coarse Si for all sites and all countries and is similar to Fig. 11 as demonstrated by the similar correlation Equs. (11) and (14).  Fine soil does contain slightly more Al than coarse soil, but when the errors are taken into account this is hardly significant.  Typically the [Al/Si] ratio is between 0.34 and 4.0 for silicon concentrations up to 12 µg/m3 which corresponds to soil estimates up to 50 µg/m3.
[image: image14.wmf]Coarse All Sites Err<9

Si (µg/m3)

Al (µg/m3)

0

20

40

60

80

100

0

5

10

15

20

25

30


Fig. 14.  A coarse Al vs Si correlation plot for all countries and for all data with error code Err<9.

The points above the line of best fit in Fig. 14 represent Al not associated with Si in soils and probably arise from Al from other anthropogenic sources or industrial sources such as aluminium smelting for example.

Fig. 15 is a plot of the coarse soil against the silicon concentration, the correlation is excellent with R2=0.98 from more than 5,600 points covering all sites in all countries.  
[image: image15.wmf]Coarse All Sites Err<9

Si (µg/m3)

Soil (µg/m3)

0

20

40

60

80

100

0

100

200

300

400


Fig. 15.  A coarse Soil vs Si correlation plot for all countries and for all data with error code Err<9.

Again a linear fit of coarse Soil versus coarse Si for all sites with Soil and Si greater than zero and filters with Err<9 gives,


Soil (Coarse) = (4.360 ± 0.63) *Si (Coarse) and R2 = 0.98 
(15)

Similar plots for coarse Soil versus coarse Al give,


Soil (Coarse) = (12.27 ± 2.7) *Al (Coarse) and R2 = 0.95 
(16)

The Si and Al content of soil was fairly consistent across both fine and coarse fractions as demonstrated in Equs. (11) and (13) and (14) and (16) respectively.

For techniques like INAA that do not measure Si well but do a reasonable job on Al, estimates of Si and Soil can be still be obtained from the Al measurements via the above equations and fits for both fine and coarse size fractions.

Fine Black Carbon Measurements.

Black carbon (BC) or soot is a key component of the fine fraction of particulate matter.  It originates from combustion process such as biomass burning and emissions from motor vehicles.  Typically BC particle sizes are much less than 1 µm in diameter.  Fine black carbon was measured by all countries using the standard reflectometer systems provided by the IAEA.  Fig. 16 is a box and whisker plot of fine BC for each of the14 countries in the project.
[image: image16.wmf]Fine All Sites Err<9

Fine BC (µg/m3)

AUS

BAN

CHN

IND

INO

KOR

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

10

20

30

40

50


Fig. 16.  Box and whisker plot of fine black carbon (BC) for each country for all data with error code Err<9.

In order to estimate the fine BC component from these measurements one must assume a constant mass absorption coefficient ( in m2/g.  Typically values of ( for submicron aerosols range from 5-10 m2/g [8].  The values used by each country in the RCA program can be found in column 7 of Table A1 in Appendix 1.
The Philippines had the highest average BC measurements, with Bangladesh, Mongolia, Sri Lanka, Thailand and Vietnam not far behind.

Many countries measured BC for the coarse filters as well and used the same mass attenuation coefficient as for their fine particle BC estimates.  This is generally not correct as BC mass absorption coefficients for coarse particles can be an order of magnitude lower than for fine particles and depends critically on the particle size.  Hence coarse BC measurements in this dataset (where they exist) should be used with great caution as they are most probably not very meaningful.  A fuller discussion on values of ( with particle size and type can be found in the work of reference [8].
Fine Sulfur Measurements.

Sulfur in the form of sulfate is another major component of fine particulate ambient aerosols.  It too generally has particle sizes below 1 µm in diameter.  The fully neutralised form of ammonium sulfate can be estimated from the sulfur concentrations via Equ. (2).  It is an important component to measured as it can occur in many different fine particle sources from coal fired power station emissions to sea spray.  
[image: image17.wmf]Fine All Sites Err<9

Fine S (µg/m3)

AUS

BAN

CHN

IND

INO

MAL

MON

NZ

PAK

PHI

SRI

THA

VIE

0

5

10

15

20

25


Fig. 17.  Box and whisker plot of fine sulfur for each country for all data with error code Err<9.

Fig. 17 is a box and whisker plot of the fine sulfur for each country for all data with error codes Err<9.  Note there is no data for Korea as they used INAA techniques to determine elemental concentrations and sulfur was not included.
Summary
Table 1 below summarises in numerical form many of the figures produced above for fine and coarse size fractions.  It includes the number of filters for each country (all sites) with gravimetric mass measurements above zero and with error code Err<9.  All measurements are in (ng/m3) the same as in the dataset itself.  Data for the key components of soil, black carbon and ammonium sulfate are provided.
	All Sites Fine Mass> 0 Err<9
	All Sites Coarse Mass> 0 Err<9

	Australia
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	1,130
	1,130
	1,130
	1,130
	1,074
	1,074
	1,074
	1,074

	Average
	5,560
	573
	807
	1,369
	9,015
	2,310
	101
	527

	Median
	5,093
	409
	547
	1,068
	8,056
	1,511
	106
	432

	SD
	2,987
	507
	771
	1,073
	5,632
	2,493
	150
	377

	Maximum
	17,110
	4,508
	4,872
	8,723
	46,490
	24,368
	1,500
	2,183

	Bangladesh
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	423
	423
	423
	423
	403
	403
	 
	403

	Average
	28,287
	3,506
	8,889
	5,869
	52,845
	18,625
	 
	4,769

	Median
	24,716
	2,698
	7,530
	4,922
	41,655
	14,068
	 
	3,619

	SD
	16,811
	3,044
	6,050
	3,868
	42,124
	14,786
	
	4,057

	Maximum
	109,290
	38,349
	37,530
	22,030
	289,099
	106,435
	 
	24,059

	China
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	455
	455
	56
	235
	420
	420
	 
	55

	Average
	45,069
	12,596
	5,082
	21,523
	99,829
	76,676
	 
	14,024

	Median
	36,044
	9,548
	5,015
	15,789
	73,306
	54,269
	 
	9,744

	SD
	33,247
	11,284
	3,164
	19,498
	89,549
	65,852
	
	13,790

	Maximum
	275,758
	115,279
	17,921
	143,460
	876,498
	417,321
	 
	86,108

	India
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	355
	355
	354
	355
	355
	355
	237
	355

	Average
	44,907
	12,864
	7,951
	2,469
	93,869
	41,157
	6,537
	6,783

	Median
	41,860
	10,563
	6,858
	1,868
	86,560
	37,745
	6,700
	5,910

	SD
	18,878
	8,078
	4,626
	2,625
	42,332
	20,044
	2,265
	4,174

	Maximum
	115,830
	35,089
	25,740
	22,156
	345,455
	142,213
	13,460
	33,512

	Indonesia
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	932
	931
	932
	771
	977
	977
	971
	823

	Average
	14,952
	766
	2,991
	3,437
	12,183
	3,889
	715
	1,236

	Median
	14,240
	523
	2,833
	3,303
	10,233
	3,156
	618
	1,044

	SD
	8,177
	990
	1,491
	2,008
	9,494
	3,197
	541
	1,027

	Maximum
	53,125
	19,966
	9,750
	12,821
	88,000
	29,304
	5,214
	13,614

	Korea
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	885
	885
	885
	 
	739
	739
	 
	 

	Average
	11,560
	1,195
	3,252
	 
	20,263
	6,216
	 
	 

	Median
	10,710
	989
	2,665
	 
	17,490
	4,802
	 
	 

	SD
	5,958
	989
	2,470
	 
	13,251
	5,062
	 
	

	Maximum
	42,840
	9,177
	12,593
	 
	85,417
	44,452
	 
	 

	Malaysia
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	168
	168
	168
	168
	145
	145
	145
	145

	Average
	26,702
	1,692
	4,760
	7,007
	21,752
	8,450
	554
	1,941

	Median
	26,180
	1,503
	4,592
	6,746
	20,710
	7,627
	466
	1,720

	SD
	8,324
	868
	1,556
	3,989
	7,750
	3,979
	541
	1,109

	Maximum
	62,110
	6,723
	13,201
	18,657
	59,170
	23,913
	5,399
	10,106

	Mongolia
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	295
	295
	295
	295
	296
	296
	296
	296

	Average
	49,794
	11,624
	7,359
	7,386
	172,006
	67,248
	4,850
	5,950

	Median
	28,219
	8,616
	4,249
	3,245
	119,143
	51,110
	3,776
	3,737

	SD
	84,234
	12,018
	10,019
	15,099
	177,867
	57,475
	4,196
	7,400

	Maximum
	1,209,820
	152,387
	103,049
	165,328
	1,253,190
	349,215
	38,581
	75,376

	New Zealand
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	433
	433
	433
	433
	330
	330
	330
	330

	Average
	6,134
	313
	1,224
	876
	8,271
	5,626
	671
	857

	Median
	5,000
	249
	761
	760
	7,633
	5,472
	324
	694

	SD
	4,850
	204
	1,519
	550.606
	3,906
	491
	749
	533

	Maximum
	46,190
	1,408
	10,713
	3,016
	23,333
	8,604
	3,491
	3,680

	Paskistan
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	229
	229
	229
	157
	255
	255
	255
	176

	Average
	15,710
	3,231
	3,388
	2,838
	60,950
	25,809
	1,802
	2,761

	Median
	14,231
	2,240
	3,127
	2,032
	52,857
	19,784
	1,723
	2,090

	SD
	8,051
	3,457
	1,629
	2,210
	45,343
	27,069
	935
	2,323

	Maximum
	67,826
	32,441
	8,925
	12,351
	348,148
	290,952
	5,289
	16,308

	Philippines
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	631
	631
	631
	631
	620
	620
	620
	620

	Average
	40,503
	1,676
	13,561
	5,852
	30,786
	8,090
	2,094
	1,809

	Median
	38,243
	1,389
	12,862
	4,835
	26,207
	7,215
	1,939
	1,400

	SD
	17,246
	1,809
	4,731
	5,016
	19,029
	4,772
	962
	1,753

	Maximum
	255,498
	29,952
	40,346
	59,297
	227,541
	28,489
	10,527
	31,880

	Sri Lanka
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	443
	443
	443
	443
	358
	358
	358
	49

	Average
	22,234
	2,001
	10,794
	2,462
	38,492
	2,676
	3,497
	7,981

	Median
	20,000
	1,825
	10,340
	2,067
	33,270
	1,926
	3,300
	7,442

	SD
	12,594
	1,475
	4,148
	1,615
	24,131
	2,342
	455
	3,195

	Maximum
	90,000
	13,573
	28,710
	14,783
	166,000
	13,999
	8,100
	17,597

	Thailand
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	929
	929
	929
	843
	929
	929
	929
	328

	Average
	22,219
	1,681
	6,085
	6,049
	30,795
	8,453
	1,407
	3,023

	Median
	20,692
	1,454
	5,582
	4,736
	25,826
	7,316
	1,223
	2,023

	SD
	9,321
	934
	2,775
	4,754
	18,017
	4,722
	846
	3,443

	Maximum
	68,182
	7,740
	18,144
	34,200
	149,563
	37,918
	6,416
	29,894

	Vietnam
	Mass
	Soil
	BC
	(NH4)2SO4
	Mass
	Soil
	BC
	(NH4)2SO4

	No Samples
	428
	428
	428
	428
	352
	352
	 
	352

	Average
	34,748
	2,772
	5,735
	9,678
	42,247
	15,080
	 
	3,994

	Median
	29,591
	2,361
	5,422
	8,260
	35,979
	13,087
	 
	2,739

	SD
	17,075
	1,563
	1,854
	5,670
	24,570
	8,744
	
	3,728

	Maximum
	115,000
	11,005
	15,414
	39,699
	151,843
	54,103
	 
	23,462


Table 1.  The average, median, standard deviation and maximum concentrations of fine and coarse mass, soil, black carbon and ammonium sulfate for each country.
For completeness we quote up to 6 significant figures for the (ng/m3) concentrations in Table 1.  But when the errors and associated MDL’s are considered it would be more appropriate to use only 2 or at most 3 significant figures for most of the concentrations quoted in this table.  But for consistency we prefer to quote this Table in (ng/m3) and not convert it to (µg/m3).
This dataset is now in its final form.  The format has been standardised across all countries and 14 countries have contributed fine and coarse concentrations with errors and MDLs.  We believe this current database meets most of the criteria of a “good database” as listed in an earlier section of this document.  
In summary,
· Database is in a reasonably good shape as of 30 November 2010, All of 14 countries have contributed data between May 2000 and December 2009
· The sampling overlap of data between countries essentially spans the 5 year time period from January 2003 to December 2007 inclusive.
· Most countries have provided data for Concs, Errors and MDLs worksheets for fine and coarse filters. There are over 8,800 daily entries for fine and coarse filters.
· Most countries have analysed these filters for at least 15 different elemental species and in some cases 40 species have been determined.
· Error codes have been inserted on known problem days.  The current dataset has about 12% fine and 18% coarse data with Err=9.
· Other quality checks have been performed on the full dataset, including sample volume checks and reconstructed mass being within reasonable limits for the analyses performed.  Where known problems have occurred an error code Err=9 has been inserted against that sampling day.
· Each country has compiled a list of known problems associated with their data and these are listed in the “Problems” worksheet associated with the dataset.
· Macros were written to scan the data for each country to check basic consistencies like one to one correspondence between dates in fine, coarse, errors and MDL data files.  Hopefully all these types of errors have been eliminated.
This is a unique database.  We are not aware of any other dataset of fine and coarse particulate matter measurements with nuclear multi-elemental analyses spanning more than 5 years and 14 countries in Asia.  This dataset has the potential to be used to determine source fingerprints and source contributions to fine and coarse particulate pollution.  Indeed this has already been achieved by several countries.  This dataset should be useful to pollution managers and to researchers alike and we believe will be a valuable resource for many years to come.
Acknowledgements

I would like to acknowledge the initial extensive work of Professor Philip Hopke in establishing the first dataset for all countries in this RCA Project and to all countries for providing their data.  Professor Willy Maenhaut for providing the GENT stacked filter units and for training during the course of this project.  Also the extensive help of Dr Rainer Siegele in combining each country’s data into one large dataset.  This work has been performed under contract from the IAEA.
References

The following is a list (alphabetically by country) of refereed journal publications related to the database and provided by each country.  It contains 95 journal publications produced during the course of this work.
Australia
[1]  P.K. Hopke, S. Biegalski, S. Landsberger, W. Maenhaut, P. Artaxo, D. Cohen. Characterisation of the GENT PM10 Sampler.  Aerosol Science and Technology 27 (1997) 726-735.

[2] David D.Cohen Ed Stelcer, David Garton. Ion beam methods to determine trace heavy metals concentrations and sources in urban airsheds. Nuclear Instruments and Methods in Physics Research B190 (2002) 466-470

[3] David D. Cohen, David Garton, Eduard Stelcer, Olga Hawas, Tao Wang, Steven Poon, Jiyoung Kim, Byoung Cheol Choi, Sung Nam Oh, Hye-Jung Shin, Mi Young Ko,Mitsuo Uematsu, Multi-elemental Analysis and Characterisation of Fine Aerosols at Several Key ACE-Asia Sites.  Journal of Geophysical Research, 109 (2004) D19S12, doi:10.1029/2003JD003569. 

[4] David D. Cohen, Ed Stelcer, Olga Hawas, David Garton, IBA Methods for Characterisation of Fine Particulate Atmospheric Pollution: A local, regional and global research problem. Nucl. Instr. and Methods B219-220 (2004) 145-152.

[5] David D. Cohen, David Garton, Eduard Stelcer, Olga Hawas, Accelerator Based Studies of Atmospheric Pollution Processes. Radiation Physics and Chemistry, 71 (2004) 759-767.

[6] D. D. Cohen, B. L. Gulson, J. M. Davis, E. Stelcer, D. Garton, O. Hawas, Fine-particle Mn and other metals linked to the introduction of MMT into gasoline in Sydney, Australia: Results of a natural experiment.  Atmospheric Environment, 39 (2005 ) 6885-6896.

[7] Ed Stelcer, Olga Hawas, David Cohen, Adam Sarbutt, David Button, Will air quality in Australia meet proposed fine particle NEPM guidelines?  Int. J. PIXE, 15 (2005) 233-239.  

[8] G. Taha, G. P. Box, D. D. Cohen, E. Stelcer. Black Carbon Measurement using Laser Integrated Plate Method. Aerosol Science and Technology, 41 (2007) 266-276.

[9] Y. Chan, David D. Cohen, Olga Hawas, Eduard Stelcer, Rod Simpson, Lyn Denison, Neil Wong, M. Hodge, E. Comino, S. Carswell.  Apportionment of sources of fine and coarse particles in four major Australian cities by positive matrix factorisation. Atmos. Environ., 42 (2008) 374-389.

[10] Philip Hopke, David D. Cohen, Bilkis A. Begum, Swapan K. Biswas, Bangfa Ni, Gauri Girish Pandit, Muhayatun Santoso, Yong-Sam Chung, Perry Davy, Andreas Markwitz, Shahida Waheed, Naila Siddique, Flora L. Santos, Preciosa Corazon B. Pabroa, Manikkuwadura Consy Shirani Seneviratne, Wanna Wimolwattanapun, Supamatthree Bunprapob, Thu Bac Vuong, Andrzej Markowicz. Urban air quality in the Asian region. Science of the Total Environment  404 (2008) 103-112.

[11] David D Cohen, Ed Stelcer, Flora L. Santos, Michael Prior, Craig Thompson, Preciosa C. B. Pabroa. Fingerprinting and source apportionment of fine particle pollution in Manila by IBA and PMF techniques; A 7 year study. X-ray Spectrometry 38 (2009) 18-25.

[12] David D. Cohen, Jagoda Crawford, Eduard Stelcer, Vuong Thu Bac, Characterisation and source apportionment of fine particulate sources at Hanoi from 2001 to 2008.  Atmos. Environ., 44 (2010) 320-328.  

[13] David D. Cohen Jagoda Crawford, Eduard Stelcer, Vuong Thu Bac.  Long Range Transport of Fine Particle Windblown Soils and Coal Fired Power Station Emissions into Hanoi between 2001 to 2008.  Atmos. Environ., 44 (2010) 3761-3769.

Bangladesh

[14] Swapan K. Biswas, Solaiman A. Tarafdar, Ashraful Islam, M. Khaliquzzaman, Heikki Tervahattu and Kaarle Kupiainen, Impact of unleaded gasoline introduction on the concentration of lead in the air of Dhaka, Bangladesh, 2003, J. Air and Waste Management Association, 53, 1355-1362.

[15] Bilkis A. Begum, Eugene Kim, Swapan K. Biswas, and Philip K. Hopke, Investigation of sources of atmospheric aerosol urban and semi-urban areas in Bangladesh by positive matrix factorization, Atmospheric Environment, 38, 2004, 3025-3038.

[16] Bilkis A. Begum and Swapan K. Biswas, Characteristics of PM2.2 and PM2.2-10 in the Atmosphere of Dhaka City,  Nuclear Science and Applications, 13, 2004, 9-19.

[17] Bilkis A. Begum, Swapan K. Biswas, Eugene Kim, Philip K. Hopke and M.Khaliquzzaman, Investigation of sources of atmospheric aerosol at a hot spot area in Dhaka, Bangladesh. J. Air and Waste Management Association, 55, 2005, 227-240. 

[18] Bilkis A. Begum, Eugene Kim, Cheol-Heon Jeong, Doh-Won Lee, and Philip K. Hopke, Evaluation of the potential source contribution function using the 2002 Quebec forest fire episode. Atmospheric Environment, 39, 2005, 3719-3724. 
[19] Pentti Paatero, Philip K. Hopke, Bilkis A. Begum, Swapan K. Biswas, A graphical diagnostic method for assessing the rotation in factor analytical models of atmospheric pollution. Atmospheric Environment, 39, 2005, 193-201. 
[20] Bilkis A. Begum, Hopke, P.K., Weixiang Zhao, Source identification of fine particles at Washington DC by ME-2 modeling. Environmental Science and Technology, 39, 2005, 1129-1137. 

[21] Bilkis A. Begum and Swapan K. Biswas, Comparison of PM collection efficiency of Gent and Airmatrics MiniVol Portable Air Sampler. Nuclear Science and Applications, 14, 2005, 79-83. 
[22] Bilkis A. Begum, Biswas, S.K., Hopke, P.K., Temporal variations and spatial distribution of ambient PM2.2 and PM10 concentrations in Dhaka, Bangladesh(. The Science of the Total Environment, 358, 2005, 36-45. 
[23] Bilkis A. Begum, Swapan K. Biswas, Hopke, P.K., Impact of Banning of Two-stroke Engines on Air Quality in Dhaka, Bangladesh. J. Air and Waste Management Association, 56, 2006, 85-89. 
[24] Bilkis A. Begum, and Swapan K. Biswas, Ambient concentration of PM2.2 and PM10 in Rajshahi City and comparison with Dhaka City of Bangladesh. Nuclear Science and Applications, 15, 2006, 14-22. 
[25] Bilkis A. Begum, Yeasmin N. Jolly, Swapan K. Biswas, Elemental analysis of air particulate matter and application to source fingerprinting. J. Bangladesh Academy of Sciences, 30, 2006, 85-93. 
[26] Bilkis A. Begum, Swapan K. Biswas, Philip K. Hopke and David D. Cohen, Multi-element analysis and Characterization of Atmospheric particulate pollution in Dhaka. Aerosol and Air Quality Research, 6, 2006, 334-359. 
[27] B. A. Begum, S.K. Biswas, P. K. Hopke, D.D. Cohen, Multi-elemental analysis and characterisation of atmospheric particulate pollution in Dhaka. Aerosol and Air Quality Research, 6 (2006) 334-359. 

[28] Bilkis A. Begum, Shirin Akhter, Lipi Sarker and Swapan K. Biswas, Gravimetric Analysis of air filters and quality assurance in weighing. Nuclear Science and Applications, 15, 2006, 36-41. 
[29] Bilkis A. Begum, Swapan K. Biswas, and Philip K. Hopke, Source apportionment of air particulate matter by Chemical Mass Balance (CMB) and Comparison with Positive Matrix Factorization (PMF) Model. Aerosol and Air Quality Research, 7, 2007, 446-468. 
[30] Bilkis A. Begum, Swapan K. Biswas and M. Khaliquzzaman, Characteristics of particulate pollutants in Dhaka and impact of policy interventions. J. Bangladesh Chemical Society, 20, 2007, 86-98. 
[31] Bilkis A. Begum, and Swapan K. Biswas, Characteristics of particulate matter at two Traffic Hot Spot areas in Dhaka City. Nuclear Science and Applications, 16, 2007, 45-54. 
[32] Bilkis A. Begum, Swapan K. Biswas, Mohammed A. Matin and Mohammed M. Hoque and Philip K. Hopke, Trace elements analysis of archeological brick samples collected from different historical places in Rajshahi Division. Nuclear Science and Applications, 16, 2007, 11-21. 
[33] Bilkis A. Begum and Swapan K. Biswas, Trend in particulate matter (PM) and lead pollution in ambient air of Dhaka city in Bangladesh. J of Bangladesh Academy of Science, 32, 2008, 155-164. 
[34] Bilkis A. Begum, Swapan K Biswas, and Philip K Hopke, Assessment of trends and present ambient concentrations of PM2.2 and PM10 in Dhaka, Bangladesh. Air Qualily and Atmospheric Health, 2008, DOI 10.1007/s118, 69-008-0018-7. 
[35] Bilkis A. Begum and Swapan K. Biswas, Characterization and apportionment of sources of indoor air particulate matter of AECD campus, Dhaka. J of Bangladesh Academy of Science, 33 (1), 2009, 25-36.
Bilkis A. Begum, A. Tazmin, K.A. Rabbani, Swapan K. Biswas, and M. Nasiruddin, Investigation of sources of particulate matter from the Tajgaon Industrial area, Dhaka. J of Bangladesh Academy of Science, 33 (1), 2009, 71-85. 
[36] Bilkis A. Begum, Samir K. Paul, M. D. Hossain, Swapan K. Biswas and Philip K. Hopke, Indoor air pollution from particulate matter emissions in different households in rural areas of Bangladesh. Building and Environ.44, 2009, 898-903. 
[37] Bilkis A. Begum,Swapan K. Biswas, Mohammed Nasiruddin, Abul Monsur Showkot Hossain and Philip K. Hopke, Source Identification of Chittagong Aerosol by Receptor Modeling. Environmental Engineering Science, 26, 2009, 679-689. 
[38] Bilkis A. Begum, Naima A. Khan, M. Khabir Uddin and Swapan K. Biswas, Characteristics and short-range transport of particulate matter from Dhaka-Aricha highway. J. Bangladesh Chemical Society, 22(1), 2009, 18-34. 
[39] Bilkis A Begum, M. Nasiruddin and Swapan K Biswas, Trend and spatial distribution of air particulate matter pollution in Dhaka city. J. Bangladesh Academy of Sciences, 34, 151-157, 2010.

[40] Bilkis A. Begum, Swapan K. Biswas, Andreas Markwitz and Philip K Hopke, Identification of sources of fine and coarse particulate matter in Dhaka Bangladesh. Aerosol and Air Quality Research, 10, 345-353, 2010. 
[41] Bilkis A. Begum, Swapan K. Biswas and Philip K Hopke, Key issues for control air pollutants in Dhaka, Bangladesh. Atmospheric Environment, 2010, Accepted. 
[42] Bilkis A. Begum, Swapan K. Biswas, Gauri G. Pandit, Shahida Waheed, Manikkuwadura Consy Shirani Seneviratne, David D. Cohen, and Andreas Markwitz Philip K Hopke, Long-range transport of soil dust and smoke pollution in the South Asian Region. Atmospheric Pollution Research, 2010, in press. 
China

[43] Ni Bangfa, Tian Weizhi, Wang Pingsheng, Zhang Lanzhi, Zhang Guiying, Liu Cunxiong, Huang Donghui, Li Dehong, Study on air pollution in Beijing's major industrial areas using multielements in biomonitors and NAA techniques; International Journal of Environment and Pollution  Vol. 32(4) (2008) 456 - 466.
[44] Huang Donghui, Xiao Caijin, Ni Bangfa, Tian Weizhi, et al., Characterization of a Stream Sediment Matrix Material for Sampling Behavior in order to Use it as a CRM, Applied Radiation and Isotopes, Vol.68 (2010) 37-41. 
[45] M.Ebihara, Y.S. Chuag, W.chueinta, B-F. Ni， T. Otoshi，et al, Collaboration Monitoring Study of Airborne Particulate matters among seven Asian countries, J. of Radioanl. Nucl. Chem. Vol. 269(2) (2006) 259-266.
[46] Huang Donghui，Wang Pingsheng，Ni Bangfa，Half-life of 97Zr re-measured， J. of Radioanl. Nucl. Chem. Vol. 265(3) (2005) 499-503.
[47] Tian Weizhi, Nuclear analytical methods in quality control of microanalysis, Journal of Radioanalytical and nuclear chemistry, Vol.262(1) (2004) 223-228.
[48] Lei Cao, Weizhi Tian, Bangfa Ni, Pingsheng Wang,Yangmei Zhang, Radiochemical neutron-activation analysis of uncertified ultra-trace rear earth elements in two biological certified reference materials, Anal. Bioanal. Chem. 372 (2002) 397-400.
[49] Lei Cao, Weizhi Tian, Bangfa Ni, Yangmei Zhang, Pingsheng Wang, Preliminary study of airborne particulate matter in a Beijing sampling station by instrumental neutron activation analysis, Atmospheric Environment, 36 (2002) 1951-1956.
[50] Weizhi Tian, Bangfa Ni, Yangmei Zhang, Lei Cao, Metrological of Neutron Activation Analysis. III. Role of INAA in sampling behaviour characterization, Accred Qual Assur.,  Vol. 7 (2002)101-105
[51] Weizhi Tian, Bangfa Ni, Yangmei Zhang, Lei Cao, Metrological of Neutron Activation Analysis. II. Parametric INAA-an indeal back-up for INAA as a primary ratio method of measurement, Accred Qual Assur.,  Vol. 7 (2002)50-54
[52] Weizhi Tian, Bangfa Ni, Yangmei Zhang, Lei Cao, Metrological of Neutron Activation Analysis. IB. Inherent characteristics of relative INAA as a primary ratio method of measurement, Accred Qual Assur Vol.7 (2002)7-12
[53] Weizhi Tian, Bangfa Ni, Yangmei Zhang, Lei Cao, Metrological of Neutron Activation Analysis. IA. Inherent characteristics of relative INAA as a primary ratio method of measurement, Accred Qual Assur., Vol6 (2001)488-492

[54] Tian Weizhi, Ni Bangfa, Wang Pingsheng, Nie huiling, Cao Lei, Zhang Yangmei, Intercomparison and certification of some Chinese and international food and biological matrix CRMs for several uncertified ultratrace elements by NAA, J. of Radioanl. Nucl. Chem. Vol. 249 (1) (2001)25-28

[55] Ni Bangfa， Wang Pingsheng, Nie Huiling, Li Shuyuan, Liu Xuefeng, Tian Weizhi, Automation and computerization of NAA，J. of Radioanl. Nucl. Chem. Vol. 244(3) (2000)665-668

[56] Tian Weizhi, Ni Bangfa, Suitability of NAA for Certification of Reference Materials for Multielements，J. of Radioanl. Nucl. Chem. Vol. 245(1) (2000) 51-56.

[57] Ni Bangfa, Tian Weizhi, Nie Huining, Wang Pingsheng, He Gaokui, Study On Air Pollution In Beijing’S Major Industrial Areas Using Multielements In Biomonitors And Neutron Activation Analysis Techniques, Biological Trace Elements Research, Vol71-72 (1999) 267-272.

[58] Nie Huiling, Qin Linlin,Tian Weizhi, Ni Bangfa, Bao Ande, Wang Pingsheng, Preliminary Study Of The Relationship Between Osteoporosis And Trace Elements With Rat Models, Biological Trace Elements Research, Vol71-72 (1999) 623-628.

[59] Ni Bangfa, Study on air pollution around Chinese largest oil refinery complex using multielements in biomonitoring and NAA techniques, IAEA NAHRES-43, 1999
[60] Tian Weizhi, Ni Bangfa, Wang Pingsheng, Nie Huiling, Role of NAA in the Characterization of sampling behaviors of multiple elements in CRMs. Fresenius J. Anal. Chem., 360 (1998) 354.

[61] Bangfa Ni, Zhanqin Yu, Gaokui He, Pingsheng Wang, Weizhi Tian, NAA of two deep sea manganese nodule Rms for multielemets; J. Radioanal. Nucl. Chem., 215(1) (1997)77-79.

[62] Bangfa Ni, Zhanqin Yu, Gaokui He, Pingsheng Wang, Weizhi Tian, Multielemental NAA of geological micro-grain samples for origin identification, J. Radioanal. Nucl. Chem., 216(2) (1997)179-181.

[63] Qin Yali, Zhang Haiqin, Ni Bangfa, et al.,, Study on Black Carbon in Aerosol of Fangshan District, Beijing by Means of Reflection Method, Atomic Energy Science and Technology, 2010, Accept. (In Chinese)

[64] Yang Wei tao , Ni Bangfa, Wang Pingsheng, Tian Weizhi, et al., Element Composition Analysis of Airborne Particulate Matter ( PM10 and PM2.5) by Instrument Neutron Activation Analysis, Atomic Energy Science and Technology, Vol.42(1) (2007) 228-231. (In Chinese)

[65] Liu Likun, Tian Weizhi, Wang Pingsheng, Huang Donghui, et al., Preliminary Study on Airborne Particulate Matter From Three Sampl ing Sites in Beijing Area by INAA, Journal of Isotopes, Vol.18 (1-2) (2005) 67-72. (In Chinese)

[66] Liu Likun, Ni Bangfa, Tian Weizhi , Wang Pingsheng, et al., Study on Correction Interference From 80 Brm in Neutron Activation Analysis of Br Using 80 Br as Indicator, Journal of Isotopes, Vol.18 (1-2) (2005) 79-83. (In Chinese)

India

[67] P.Kothai, I.V. Saradhi, P. Prathibha, P.K. Hopke, G.G. Pandit and V.D. Puranik, (2008), Source Apportionment of Coarse and Fine Particulate Matter at Navi Mumbai, India, Aerosol and Air Quality Research, Vol.8, No.4, pp 423-436 

[68] P. Kothai, P. Prathibha, I.V. Saradhi, G.G. Pandit and V.D. Puranik, (2009), Characterization of atmospheric particulate matter using PIXE technique, International Journal of Environmental Science and Engineering, 1:1, pp 27-30

Indonesia

[69] Muhayatun, Diah Dwiana Lestiani, A. Markwitz, Philip K Hopke. Nuclear Analytical Techniques INAA and PIXE Application for Characterization of Airborne Particulate Matter in Indonesia, Journal of Applied Sciences in Environmental Sanitation (Volume V, Number N: 201-210, April-June, 2010)

[70] Muhayatun, Diah Dwiana Lestiani, Rita Mukhtar, Esrom Hamonangan, Halimah Syafrul, Andreas Makrwitz, Philip K Hopke Preliminary Study of  The Sources of Ambient Air Pollution in Serpong Indonesia, Journal of Atmospheric Pollution Research, 2010 (accepted)
[71] Muhayatun Santoso, Philip K Hopke, Achmad H and Diah: “Sources identification of the atmospheric aerosol at urban and suburban sites in Indonesia by positive matrix factorization” Journal of Science and Total Environment 397, 229 – 237 (July 2008).
[72] Diah Dwiana, Muhayatun and Achmad H: Characterization of Black carbon in Fine Particulate Matter PM2.5 in Bandung and Lembang sites 2004-2005”, Indonesian Journal of Science and Nuclear Technology, Vol IX, No 2, August 2008.
[73] Muhayatun, Achmad Hidayat, Diah: “Ambient Air Concentration of PM2.5 and PM10 in Bandung and Lembang in 2000 - 2006”, Indonesian Journal of Science and Nuclear Technology, Vol IX, No 1, February 2008.
[74] Diah Dwiana, Muhayatun and Achmad H: “Temporal variation of fine and coarse particulate matter of 2005 – 2006” Indonesia Journal of Widyariset, Vol. 11(1), 239-245, 2008. 

New Zealand

[75] W. J. Trompetter and A .Markwitz, "Air particulate research capability at the New Zealand Ion Beam Analysis facility using PIXE and IBA techniques", Intern. Journal of PIXE 15 (2005) 249 

[76] A. Markwitz, "An overview of the RCA/IAEA activities in the Australasian region using nuclear analysis techniques for monitoring air pollution", Intern. Journal of PIXE 15 (2005) 271
[77] P. K. Davy, A. Markwitz, W. J. Trompetter and D. C. Weatherburn, "Elemental Analysis and Source Apportionment of Ambient Particulate Matter at Masterton New Zealand", Intern. Journal of PIXE 15 (2005) 225

[78] W. Trompetter, P. Davy and A. Markwitz, “Influence of environmental conditions on carbonaceous particle concentrations within New Zealand, J of Aerosol Science, DOI: 10.1016/j.jaerosci.2009.11.003

Malaysia

[79] Rahman, S.A., Hamzah, M.S., Wood, A.K., Elias, M.S., Salim, N.A.A., Sanuri, E., 2009.  The application of factor analysis to identify sources in  Klang Valley aerosol, Journal of Nuclear and Related Technologies  6(1), 279-286.

[80] Rahman, S.A., Hamzah, M.S., Wood, A.K., Elias, M.S., Salim, N.A.A., Sanuri, E., 2009.  Chemical composition and source apportionment of aerosol over the Klang Valley, Nucl. Sci. J. Malaysia 21(1), 12-20.

 

[81] Rahman, S.A., Hamzah, M.S., Wood, A.K., Elias, M.S., Salim, N.A.A., Sanuri, E., 2010.  Sources Apportionment of Fine and Coarse Aerosol in Klang Valley, Kuala Lumpur Using Positive Matrix Factorization. Submmited to Atmospheric Pollution Research.

Pakistan

[82] M. Wasim, A. Rahman, S. Waheed M. Daud and S. Ahmad, “INAA for the characterization of airborne particulate matter from the industrial area of Islamabad city”, J. Radioanal. Nucl. Chem. 258(2) (2003) 397-402. 

[83] S. Waheed, A Rahman, M. Daud, S. Rahman, Z. Islam, S. Ahmad “Air quality evaluation of some industrial cities of Pakistan using INAA and AAS” Radiochimica Acta., 93, (2005) 487-495. 
[84] S. Waheed, A Rahman, N. Khalid and S. Ahmad, “Assessment of air quality of two metropolitan cities from Pakistan: Elemental analysis using INAA and AAS” Radiochim. Acta, 94 (2006) 161-166. 

[85] S. Waheed, N Siddique, M. Daud, "Principle component analysis of air particulate data from the industrial area of Islamabad", The Nucleus, 45(3-4), (2008), 131-136 

[86] Y. Faiz, M. Tufail, M. T. Javed, M. M. Chaudhry, N. Siddique, “Road dust pollution of Cd, Cu, Ni, Pb and Zn along Islamabad Highway, Pakistan”, Microchemical Journal, 92, 186-192, (2009) 

[87] S. Waheed, N. Siddique, Q. Hamid, M. M. Chaudhry, “Assessing soil pollution from municipal waste dump in Islamabad, Pakistan: a study by INAA and AAS”, J. Radioanal. Nucl. Chem. 285, 723-732, (2010) 

[88] S. Waheed, N. Siddique, Q. Hamid, “Analysis of municipal waste dump soil using a low power reactor: a study by instrumental neutron activation analysis”, In-print, Radiochimica Acta, 98 (2010)
Sri Lanka

[89] M.C. Shirani Seneviratne; V.A. Waduge; Lakmali Hadagiripathira; S. Sanjeewani; T. Attanayake; N. Jayaratne; Philip K. Hopke.  Characterization and Source Apportionment of Particulate Pollution in Colombo, Sri Lanka" (Manuscript ID: APR-D-10-00066R1) accepted for publication in Atmospheric Pollution Research in 2010

Vietnam
[90] Hien, P.D., Bac, V.T., Tham, H.C., Nhan, D.D., Vinh, L.D., Influence of meteorological conditions on PM2.5 and PM2.5-10 concentrations during the monsoon season in Hanoi, Vietnam. Atmospheric Environment, 36, p. 3473-3484 (2002).

[91] Hien PD, Bac VT, Thinh NTH, PMF receptor modelling of fine and coarse PM10 in air masses governing monsoon conditions in Hanoi, northern Vietnam. Atmospheric Environment 38 (2). pp 189-201 (2004).

[92] P.D.Hien, V.T.Bac & N.T.H.Thinh. Investigation of sulfate and nitrate formation on mineral dust particles by receptor modeling. Atmospheric Environment 39. pp 7231-7239 (2005).

[93] V. T. Bac & P. D. Hien. Regional and local emissions in red river delta, Northern Vietnam. Air Qual Atmos Health Vol.2, No.3, September, 2009. pp 157-167 (2009).
[94] Bac,V.T., Kregsamer,P., Markowicz, A., Elemental Sensitivity Method in XRF Analysis of PM10 Aerosol Filters. Nuclear Science and Technology. V.2, N.2, p. 18-28 (2003).
[95] V.T.Bac, N.T.H.Thinh. Source Identification of PM2.5 at Lucnam, Bacgiang in 2001 by Receptor Modeling. Nuclear Science and Tecnology. V.4, N.1, p. 50-60 (2006).

Appendix 1
Table A1.  Location and site description for the 14 RCA sampling sites within the IAEA/ RCA Project.  The mass attenuation coefficient used to determine the BC carbon content of both fine and coarse GENT stacked filters is also included.  Known sources obtained during positive matrix factorisation source apportionments are also listed.
	Country
	Site
	Type
	Longitude
	Latitude
	Techniques
	Mass Atten

Coeff (m2/g)
	Site Description
	Known Sources

	Australia
	Lucas Heights
	Rural
	150.983
	-34.052
	PIXE, PIGE, PESA
	7.0
	30 km SW of Sydney centre, 16 km inland from the coast, extensive bushland, national parks to south and west for 45 km, urban housing 3 km to NE to west, local council garbage tip 2 km to the NW, only minor roads within 5 km of site.
	Soil, Sea salt, Autos, Smoke from biomass burning 

	
	Liverpool
	Urban
	150.925
	-33.925
	PIXE, PIGE, PESA
	7.0
	15 km NNW of the Lucas Heights site, surrounded by urban housing and light industry for 10 km in most directions including a significant railway line within 1 km, nearest significant bushland >12 km to the south.
	Autos, 2ndryS, Soil, Sea salt, Industry, Smoke.

	Bangladesh
	Dhaka
	Urban Semi-Residential
	90.40E
	23.73N
	PIXE, PIGE
	9
	Semi-residential in Dhaka city, ~300 km from the sea in the South, 80 m away from road roadside with moderate traffic. Dhaka city is characterized by high traffic congestion and small industries and large number of brick kilns around.
	Road dust, Soil dust, Automobiles, Metal Smelter/Industry
Sea salt, Zn source
Brick kiln/Biomass burning
Construction



	China
	Urban
	Urban
	116.32 E
	39.93 N
	INAA
	?
	In downtown, represent a heavy traffic site in downtown
	Soil and fly ash，refuse incineration, limestone, motor vehicle exhaust, coal burning. 

	
	Site1
	Suburban
	115.98 E
	39.72 N
	INAA
	?
	Installed in a middle school, represent a residential site in suburb
	Soil and fly ash，limestone, motor vehicle exhaust refinery and combustion.


	
	Site2
	Suburban
	116.01 E
	39.71 N
	INAA
	?
	Installed in a square , represent a traffic site in suburb
	Soil and fly ash，limestone, motor vehicle exhaust, refinery and combustion

	India
	Trombay


	Suburban
	73.02 E
	19.05 N
	INAA,EDXRF, PIXE
	5.93
	Trombay -industrial area hill on one side and sea on other side


	Soil, industrial , sea salt, vehicle

	
	Vashi


	Suburban


	
	
	
	5.93
	Vashi-industrial area 1km from national high way
	Soil, industrial , sea salt, vehicle

	Indonesia
	Bandung
	Urban
	107.60
	-6.91
	PIXE, NAA
	5.27
	630 m above sea level. It is the provincial capital of West Java and is categorized as an industrial city with a population of more than 2.6 million inhabitants in an area of approximately 167.67 km2. Many small scale factories are also located around the city.
	Soil, seasalt, motor vehicles, biomass burning road dust, and secondary sulfur

	
	Lembang
	Suburban
	107.23
	-6.79
	PIXE, NAA
	5.27
	Sampling at the suburban site was conducted in Lembang on the roof of the Meteorological and Geophysical Agency's building about 6 m above ground level and about 1 km from the nearest major street. Lembang is a small village about 16 km from sampling site in Bandung, 1300 m above sea level, close to the Boscha observatory 
	Soil, seasalt, motor vehicles, biomass burning and road dust

	Korea
	Daehwa
	Urban
	127.22
	36.26
	INAA
	7.14
	One of big industrial sampling sites, which mainly consists of more than 100 different types of business. 
	1) small scale industries producing metallurgical, mechanical, rubber/plastic, and chemical products
2) large scale industries dealing with soaps and cosmetics
3) large scale cement/plaster factories

	
	KAERI
	Suburban
	127.25
	36.22
	INAA
	7.14
	A suburban sampling site, KAERI, is located about 1km northward from the heavy-traffic intersection of the four-lane Honam highway and six-lane local road. 
	1) two municipal waste incinerators

2) power station

3) chemical industries

4) agricultural activities

	Malaysia
	Klang valley
	Urabn
	101.7 E
	3.17 N
	PIXE, INAA
	9.7
	Most busy area with about 5 million population, home, industry, factories, and residential area
	Soil dust, road dust, motor vehicle sulphur, biomass burning

	Mongolia
	Ulaanbaatar
	Urban
	106.58
	47.54
	PIXE, PIGE
	5.7
	5 km E of Ulaanbaatar centre, surround dwelling houses, 200 m from main road(S and SW)
	Soil, Coal combustion

 (smoke), ,wood burning 

Road  and construction 

Dust and motor vehicle

	New Zealand
	Masterton
	Urban
	175.660
	-40.933
	PIXE, PIGE, PESA
	?
	In the city centre, small population, 65 km away from the Cook Strait to the south-west, 50 km away from the sea to the North-west, >500 hill in 25 km distance to the NW and NE, prevailing wind directions: NW and S. Calm winter days
	Biomass burning, sea spray, soil, motor vehicles

	
	Seaview
	Urban
	174.914
	-41.240
	PIXE, PIGE, PESA
	?
	Industrial area of Lower Hutt, only 1 km away from Wellington harbour to the south, urban housing about 1.5 km away to the north-west, prevailing wind directions: NW and S. Strong exposure to marine aerosols.
	Soil, sea spray, biomass burning, motor vehicles, industry

	
	Wainuiomata
	Urban
	174.953372
	-41.268027
	PIXE, PIGE, PESA
	?
	Wainuiomata is a residential area located in a valley basin surrounded by hills ~200 m high to the north and west, to the east the hills rise into the Rimutaka Range up to ~800 m high. The south end of Wainuiomata narrows to a constricted valley which runs 20 km down to the ocean.
Wellington City is 15 km to the southwest across the hills and harbour.
	Soil, sea spray, biomass burning, motor vehicles

	Pakistan
	Nilore

Islamabad
	Sub Urban
	33( 43’ N, 


	73( 03 E
	INAA, PIXE, PIGE, PESA
	7
	Located on the Potohar Plateau in the northwest of Pakistan. Has small industrial area with numerous brick kilns in suburbs. Since located on a plateau surrounded by mountains on two sides, which confine pollutants in this area leading to high SPM leading to problems like reduction in visibility and different forms of allergies. 

The Nilore area has a university and 2 research institutes, with a small residential colony and a fleet of about 500 vehicles including buses, cars, wagons, trucks and motor cycles.
	Suspended soil, dust and automobiles sources. Sources of Sea salt are probably long range.



	
	Airport

Housing 

Society 

Rawalpindi
	Urban

Residential
	33°36´ N 


	73°02´E
	PIXE, PIGE, PESA
	?
	Located on the Potohar Plateau in the south of Islamabad. City is home to many industries and factories; steel mills, marble factories, soap/ chemical factories, ceramics, paint and pharmaceutical manufacturing plants, and several other small industries. A number of brick kilns are also operating in the vicinity of the area. Has international airport in the vicinity.

	Soil, automobile and brick kiln whereas road dust, construction and 2 stroke are the minor sources. 



	Philippines
	Ateneo de Manila University
	Urban/ Residential
	121.077
	14.636
	PIXE
	7.0
	Located at the Ateneo de Manila University Campus, on the eastern part of Metro Manila. It is adjacent to major subdivisions and overlooks the Marikina Valley. The campus is bounded on the left by the Katipunan road which gets very busy especially on school days. It is co-located with the EMB real-time monitoring station.
	Vehicular emission, biomass burning, secondary S, soil, sea salt, industry.

	Sri Lanka
	AEA
	Urban

+Diesel power plant
	79 0 51’45E
	6 0 49’35N
	XRF
	?
	10 km NE of Colombo city  centre, 10 km inland from the coast, Small housing 3 km to west, local council garbage dumping site is located to2 km to the NW from the site , 1 km West of Diesel- electricity  power plant.  West of Main road  running to Colombo city 
	Soil, Sea spray,

 Secondary Sulphate smoke 

	
	AQM
	Urban
	79 0 86’E
	6 0 9’N
	XRF
	?
	 Commercial city, surrounded by commercial stores urban housing ,railway line and Colombo harbour with in 2 km.  Main bus stand is situated within 3 km to north.
	Soil , Vehicular emissions, Secondary sulphate, seas spray.

	Thailand
	Pathumwan, Bangkok
	Urban
	100.49 E
	13.75
	INAA
	5.7
	Capital city, Curbside at downtown center, skytrain and tollway at the site, urban housing-university-school-shopping and business buildings, small industrial factories (mainly cement, metal plated and textile) within Bangkok area (1500 km2) in most directions. 
	Autos, Soil, Sea salt, Construction

	
	Chatuchak, Bangkok
	Urban
	100.57 E
	13.85
	INAA, PIXE
	5.7
	Capital city, residential area surrounded by house-flat-building-university-school, a toll way 300-500 meters in the SW to NW of sampling site, railway behide the toll way further in the SW to NW of sampling site about 40 km from the Gulf of Thailand.  
	Autos, Soil, Sea salt, Cement/Construction, Smoke from biomass burning, SO4, high Zn

	
	KlongHa, Pathumthani
	Suburban
	100.74 E
	14.04
	INAA, PIXE
	
	Pathumthani is Bangkok’s boundary in the north. A suburb, residential area surrounded by houses (wooden & brick)-canal-tree and grass field, the site is in a government science center,  a major road about 5 km in the south
	Soil, Sea salt, Cement, Smoke from biomass burning, SO4, 

	Vietnam
	Lang-Hanoi
	Urban
	105.85
	21.02
	PIXE, PIGE, PESA
	7.0
	5 km SW of Hanoi centre, about 100 km west of the East China Sea and about 150 km to the borders with China and Laos.
	Soil, Sea salt, Autos, Smoke from biomass burning, 2ndryS, Industry.

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	


Appendix 2
Table A2.  Summary of participating country dataset inputs.

All countries all sites fine PM2.5 filters

	Site#
	START
	STOP
	Mass>0
	Err=9
	Err%
	Elts>0
	Al>0
	Si>0
	S>0
	BC>0
	BCErr>0
	BCMDL>0
	Elts

	AUS33
	01-Jan-03
	02-Nov-08
	594
	19
	3.2
	594
	573
	594
	594
	592
	594
	594
	21-21

	AUS35
	01-Jan-03
	02-Nov-08
	594
	39
	6.6
	594
	565
	594
	594
	574
	594
	594
	21-21

	BAN880
	02-Jan-02
	28-Feb-07
	448
	26
	5.8
	448
	448
	448
	448
	448
	448
	448
	18-29

	CHN86
	07-Jan-02
	13-May-04
	79
	32
	41
	79
	79
	0
	14
	0
	0
	0
	22-36

	CHN86a
	23-Mar-04
	09-Oct-06
	133
	29
	22
	133
	114
	0
	41
	0
	0
	0
	10-37

	CHN86b
	20-Nov-03
	16-Jun-08
	314
	29
	9.2
	314
	307
	65
	200
	65
	65
	65
	10-37

	IND91a
	01-Jan-02
	14-Nov-07
	362
	7
	1.9
	362
	362
	362
	362
	361
	354
	362
	7-33

	INO62
	13-Jan-03
	09-Dec-09
	605
	95
	16
	601
	556
	431
	431
	600
	600
	602
	1-33

	INO62a
	13-Jan-03
	25-Jun-09
	573
	151
	26
	570
	547
	425
	427
	566
	566
	573
	1-33

	KOR82
	05-Jan-02
	30-Nov-07
	490
	100
	20
	490
	486
	0
	0
	490
	490
	490
	8-24

	KOR82a
	05-Jan-02
	11-Dec-08
	583
	88
	15
	583
	570
	0
	0
	583
	583
	583
	11-24

	MAL60
	08-Jan-02
	22-Dec-08
	228
	39
	17
	228
	228
	228
	228
	228
	228
	228
	21-21

	MON73
	25-Oct-04
	30-Nov-08
	302
	7
	2.3
	302
	301
	302
	302
	302
	302
	302
	33-33

	NZ64c
	15-Jul-05
	29-Jun-07
	142
	20
	14
	142
	142
	142
	142
	138
	138
	142
	32-32

	NZ64b
	05-Jul-02
	10-Jan-04
	77
	10
	13
	77
	77
	77
	77
	77
	77
	77
	32-33

	NZ64e
	01-Sep-06
	25-Sep-08
	222
	7
	3.2
	222
	218
	222
	222
	144
	144
	222
	32-32

	PAK92
	17-Apr-02
	19-Apr-07
	477
	248
	52
	476
	460
	336
	336
	476
	476
	477
	1-33

	PHI63
	16-Jan-01
	26-Dec-07
	651
	20
	3.1
	651
	650
	651
	651
	651
	651
	651
	21-21

	SRI94
	18-Jun-03
	26-Feb-08
	229
	4
	1.7
	227
	223
	226
	226
	227
	227
	227
	28-38

	SRI94a
	04-May-00
	15-Aug-07
	237
	14
	5.9
	234
	225
	233
	233
	234
	233
	234
	26-38

	THA66
	02-Jan-02
	30-Dec-07
	556
	6
	1.1
	556
	556
	485
	485
	556
	556
	556
	19-26

	THA66a
	15-Jan-03
	30-Dec-07
	425
	46
	11
	425
	425
	401
	401
	425
	425
	425
	19-25

	VIE84
	16-Jan-02
	24-Dec-08
	460
	32
	7.0
	460
	439
	460
	460
	460
	460
	460
	21-21

	 
	 
	Total
	8,781
	1,068
	 
	8,768
	8,551
	6,682
	6,874
	8,197
	8,211
	8,312
	 

	 
	 
	%
	100
	12
	 
	99.9
	97
	76
	78
	93
	94
	95
	 


Cells with zeros or very low numbers highlighted in red are possible problem areas

All countries all sites coarse (2.5-10µm) filters.

	Site#
	START
	STOP
	Mass>0
	Err=9
	Err%
	Elts>0
	Al>0
	Si>0
	S>0
	BC>0
	BCErr>0
	BCMDL>0
	Elts

	AUS33
	1-Jan-03
	2-Nov-08
	594
	54
	9.1
	594
	586
	594
	594
	507
	594
	594
	21-21

	AUS35
	1-Jan-03
	2-Nov-08
	594
	60
	10
	594
	571
	594
	594
	484
	594
	594
	21-21

	BAN880
	2-Jan-02
	28-Feb-07
	449
	46
	10
	449
	449
	449
	449
	0
	0
	0
	12-27

	CHN86
	7-Jan-02
	13-May-04
	77
	33
	43
	77
	76
	0
	0
	0
	0
	0
	23-37

	CHN86a
	23-Mar-04
	9-Oct-06
	131
	44
	34
	131
	112
	0
	0
	0
	0
	0
	10-40

	CHN86b
	20-Nov-03
	16-Jun-08
	296
	45
	15
	296
	296
	65
	64
	0
	0
	0
	17-40

	IND91a
	1-Jan-02
	14-Nov-07
	362
	7
	1.9
	362
	362
	362
	362
	238
	210
	244
	7-34

	INO62
	13-Jan-03
	9-Dec-09
	600
	90
	15
	595
	581
	437
	441
	586
	586
	596
	1-33

	INO62a
	13-Jan-03
	25-Jun-09
	572
	111
	19
	562
	550
	410
	411
	553
	554
	562
	1-33

	KOR82
	5-Jan-02
	30-Nov-07
	490
	136
	28
	490
	486
	0
	0
	0
	0
	0
	10-24

	KOR82a
	5-Jan-02
	11-Dec-08
	583
	198
	34
	583
	583
	0
	0
	0
	0
	0
	9-24

	MAL60
	8-Jan-02
	22-Dec-08
	228
	62
	27
	228
	228
	228
	228
	228
	228
	228
	21-21

	MON73
	25-Oct-04
	30-Nov-08
	302
	6
	2.0
	302
	301
	301
	301
	301
	301
	301
	33-33

	NZ64c
	15-Jul-05
	29-Jun-07
	151
	98
	65
	151
	151
	151
	151
	151
	151
	151
	33-33

	NZ64b
	5-Jul-02
	10-Jan-04
	87
	10
	11
	87
	87
	87
	87
	87
	87
	87
	33-33

	NZ64e
	1-Sep-06
	25-Sep-08
	187
	42
	22
	187
	187
	187
	187
	185
	185
	187
	33-33

	PAK92
	17-Apr-02
	19-Apr-07
	477
	222
	47
	477
	464
	337
	337
	477
	477
	477
	1-37

	PHI63
	16-Jan-01
	26-Dec-07
	651
	31
	4.8
	651
	651
	651
	651
	651
	651
	651
	21-21

	SRI94
	18-Jun-03
	26-Feb-08
	227
	51
	22
	202
	0
	7
	43
	200
	0
	203
	9-18

	SRI94a
	4-May-00
	15-Aug-07
	212
	53
	25
	194
	0
	3
	22
	194
	0
	193
	10-17

	THA66
	2-Jan-02
	30-Dec-07
	556
	23
	4.1
	556
	556
	180
	180
	556
	556
	556
	11-24

	THA66a
	15-Jan-03
	30-Dec-07
	425
	29
	6.8
	425
	425
	163
	163
	425
	425
	425
	19-24

	VIE84
	16-Jan-02
	24-Dec-08
	460
	108
	23
	460
	460
	460
	460
	0
	0
	0
	20-20

	 
	 
	Total
	8,711
	1,559
	
	8,653
	8,162
	5,666
	5,725
	5,823
	5,599
	6,049
	 

	 
	 
	%
	100
	18
	 
	99
	94
	65
	66
	67
	64
	69
	 


Cells with zeros or very low numbers highlighted in red are possible problem areas

1

